## sin_el_positivo
	ground_truth	averaged_images_or_angles	min_abs_theoretical_error	best_correct_decimals	best_algorithm	mirror_fibo	mirror_quad	rotation_fibo	rotation_quad
high sat 0.05	9.45	angles	0.078304481592	1	mirror_fib	9.371695518408	9.371695518408	9.371695518408	9.362092313716
	9.45	images	0.125448743895	0	mirror_fib	9.324551256105	9.324551256105	9.324551256105	9.308885133814
low sat 0.5	9.45	images	0.005596528172	2	mirror_fib	9.455596528172	9.455596528172	9.455596528172	9.457371545305
	9.45	angles	0.013916346708	1	mirror_fib	9.463916346708	9.463916346708	9.463916346708	9.464669752068
Silouette 0.05	9.45	angles	0.799858775501	0	mirror_fib	8.650141224499	8.650141224499	8.650141224499	8.62902587666
	9.45	images	0.846961616072	0	rotation_quad	8.598933080163	8.598933080163	8.598933080163	8.603038383928
Silouette 0.5	9.45	angles	1.405566799338	0	mirror_fib	10.855566799338	10.855566799338	10.855566799338	10.858936992601
	9.45	images	1.415238961835	0	rotation_quad	10.866666984526	10.866666984526	10.866666984526	10.865238961835
high sat 0.1	9.45	angles	0.441164514012	0	mirror_fib	9.008835485988	9.008835485988	9.008835485988	8.977292760576
	9.45	images	0.47041623909	0	mirror_fib	8.97958376091	8.97958376091	8.97958376091	8.955567410642

## sinel_negativo
	ground_truth	averaged_images_or_angles	min_abs_theoretical_error	best_correct_decimals	best_algorithm	mirror_fibo	mirror_quad	rotation_fibo	rotation_quad
high sat 0.05	-13.85	angles	0.138325442773	0	mirror_fib	-13.988325442773	-13.988325442773	-13.988325442773	-13.993024867424
	-13.85	images	0.178885249586	0	mirror_fib	-14.028885249586	-14.028885249586	-14.028885249586	-14.045736135167
low sat 0.5	-13.85	images	0.487596955793	0	mirror_fib	-14.337596955793	-14.337596955793	-14.337596955793	-14.361895083038
	-13.85	angles	0.498243741194	0	rotation_quad	-14.349060061888	-14.349060061888	-14.349060061888	-14.348243741194
Silouette 0.05	-13.85	images	0.389569206867	0	mirror_fib	-13.460430793133	-13.460430793133	-13.460430793133	-13.458429438548
	-13.85	angles	0.41385089263	0	rotation_quad	-13.407385069428	-13.407385069428	-13.407385069428	-13.43614910737
Silouette 0.5	-13.85	images	2.022669628407	1	mirror_fib	-15.872669628407	-15.872669628407	-15.872669628407	-15.874523149911
	-13.85	angles	2.029805411833	1	rotation_quad	-15.885501564207	-15.885501564207	-15.885501564207	-15.879805411833
high sat 0.1	-13.85	images	0.500433566689	0	rotation_quad	-13.340077662636	-13.340077662636	-13.340077662636	-13.349566433311
	-13.85	angles	0.527727847235	0	rotation_quad	-13.314162375865	-13.314162375865	-13.314162375865	-13.322272152765

## ortog
	ground_truth	averaged_images_or_angles	min_abs_theoretical_error	best_correct_decimals	best_algorithm	mirror_fibo	mirror_quad	rotation_fibo	rotation_quad
high sat 0.05	90	images	1.763673972732	0	mirror_fib	88.236326027268	88.236326027268	88.236326027268	88.227042472666
	90	angles	1.769754049762	0	mirror_fib	88.230245950238	88.230245950238	88.230245950238	88.224179134706
low sat 0.5	90	angles	5.685276703285	0	mirror_fib	84.314723296715	84.314723296715	84.314723296715	84.30696074644
	90	images	5.688887895309	0	rotation_quad	84.309233585854	84.309233585854	84.309233585854	84.311112104691
Silouette 0.05	90	images	6.071632976675	1	mirror_fib	83.928367023325	83.928367023325	83.928367023325	83.925490154431
	90	angles	6.074458191972	1	mirror_fib	83.925541808028	83.925541808028	83.925541808028	83.920891843263
Silouette 0.5	90	angles	3.979588799178	0	mirror_fib	86.020411200822	86.020411200822	86.020411200822	86.009763747137
	90	images	3.988751587728	0	rotation_quad	86.009520353987	86.009520353987	86.009520353987	86.011248412272
high sat 0.1	90	angles	4.530474360113	0	mirror_fib	85.469525639887	85.469525639887	85.469525639887	85.468903536136
	90	images	4.534096340809	0	mirror_fib	85.465903659191	85.465903659191	85.465903659191	85.464077803111

## 70_71
	ground_truth	averaged_images_or_angles	min_abs_theoretical_error	best_correct_decimals	best_algorithm	mirror_fibo	mirror_quad	rotation_fibo	rotation_quad
high sat 0.05	50.818810160902	angles	0.728280695134	0	rotation_quad	50.090489486349	50.090489486349	50.090489486349	50.090529465768
	50.818810160902	images	0.728280695134	0	rotation_quad	50.090489486349	50.090489486349	50.090489486349	50.090529465768
low sat 0.5	50.818810160902	angles	2.279565143645	0	mirror_fib	48.539245017258	48.539245017258	48.539245017258	48.534763965135
	50.818810160902	images	2.280245766025	0	mirror_fib	48.538564394877	48.538564394877	48.538564394877	48.538001186704
Silouette 0.05	50.818810160902	angles	0.899926827036	0	rotation_quad	49.912118501608	49.912118501608	49.912118501608	49.918883333867
	50.818810160902	images	0.899926827036	0	rotation_quad	49.912118501608	49.912118501608	49.912118501608	49.918883333867
Silouette 0.5	50.818810160902	images	6.027452303833	1	rotation_quad	89.771303861854	89.771303861854	89.771303861854	44.79135785707
	50.818810160902	angles	6.027792429814	1	mirror_fib	44.791017731088	44.791017731088	44.791017731088	3.623398381866
high sat 0.1	50.818810160902	angles	1.077844277078	1	rotation_quad	49.740589630175	49.740589630175	49.740589630175	49.740965883824
	50.818810160902	images	1.077844277078	1	rotation_quad	49.740589630175	49.740589630175	49.740589630175	49.740965883824

## 28_29
	ground_truth	averaged_images_or_angles	min_abs_theoretical_error	best_correct_decimals	best_algorithm	mirror_fibo	mirror_quad	rotation_fibo	rotation_quad
high sat 0.05	-8.379306809623	angles	0.020129589411	1	rotation_quad	-8.402799554148	-8.402799554148	-8.402799554148	-8.399436399034
	-8.379306809623	images	0.020473765015	1	rotation_quad	-8.402800157238	-8.402800157238	-8.402800157238	-8.399780574638
low sat 0.5	-8.379306809623	images	0.038346256102	1	rotation_quad	-8.418826512496	-8.418826512496	-8.418826512496	-8.417653065725
	-8.379306809623	angles	0.038460178017	1	rotation_quad	-8.420863706459	-8.420863706459	-8.420863706459	-8.41776698764
Silouette 0.05	-8.379306809623	images	0.007808608886	2	mirror_fib	-8.371498200737	-8.371498200737	-8.371498200737	-8.39417525562
	-8.379306809623	angles	0.008133443291	2	mirror_fib	-8.371173366332	-8.371173366332	-8.371173366332	-8.392302475744
Silouette 0.5	-8.379306809623	images	0.783008112749	0	rotation_quad	-9.167673269666	-9.167673269666	-9.167673269666	-9.162314922372
	-8.379306809623	angles	0.793914309948	0	rotation_quad	-9.174815704631	-9.174815704631	-9.174815704631	-9.173221119571
high sat 0.1	-8.379306809623	angles	0.028840490224	1	rotation_quad	-8.411862793638	-8.411862793638	-8.411862793638	-8.408147299847
	-8.379306809623	images	0.032615535094	1	mirror_fib	-8.411922344717	-8.411922344717	-8.411922344717	-8.412482527708

## 18_19
	ground_truth	averaged_images_or_angles	min_abs_theoretical_error	best_correct_decimals	best_algorithm	mirror_fibo	mirror_quad	rotation_fibo	rotation_quad
high sat 0.05	11.417651575106	angles	0.016861217076	1	mirror_fib	11.40079035803	11.40079035803	11.40079035803	11.456495570473
	11.417651575106	images	0.039550313678	1	rotation_quad	11.332625503697	11.332625503697	11.332625503697	11.457201888784
low sat 0.5	11.417651575106	images	0.039919342903	1	rotation_quad	11.464140293951	11.464140293951	11.464140293951	11.457570918009
	11.417651575106	angles	0.044885341461	1	mirror_fib	11.462536916567	11.462536916567	11.462536916567	11.463730728244
Silouette 0.05	11.417651575106	angles	0.001597497726	2	mirror_fib	11.41605407738	11.41605407738	11.41605407738	11.388121631937
	11.417651575106	images	0.00689741997	2	mirror_fib	11.410754155136	11.410754155136	11.410754155136	11.349555523616
Silouette 0.5	11.417651575106	images	0.361283065326	0	mirror_fib	11.778934640432	11.778934640432	11.778934640432	55.503650425155
	11.417651575106	angles	0.36726113705	0	mirror_fib	11.784912712156	11.784912712156	11.784912712156	56.073060093195
high sat 0.1	11.417651575106	angles	0.029168849557	1	rotation_quad	11.377438457721	11.377438457721	11.377438457721	11.446820424663
	11.417651575106	images	0.029380132333	1	rotation_quad	11.375571039756	11.375571039756	11.375571039756	11.447031707439

## con_los_dos
	ground_truth	averaged_images_or_angles	min_abs_theoretical_error	best_correct_decimals	best_algorithm	mirror_fibo	mirror_quad	rotation_fibo	rotation_quad
high sat 0.05

low sat 0.5

Silouette 0.05

Silouette 0.5

high sat 0.1

## ref_vs_ref
ground_truth	averaged_images_or_angles	min_abs_theoretical_error	best_correct_decimals	best_algorithm	mirror_fibo	mirror_quad	rotation_fibo	rotation_quad

## non_noisy_5_6
ground_truth	averaged_images_or_angles	min_abs_theoretical_error	best_correct_decimals	best_algorithm	mirror_fibo	mirror_quad	rotation_fibo	rotation_quad